## Slide 2: IoT - from prototype to enterprise platform - three years and seven business cases at a Dutch Energy Provider
Digital Xchange 2022
Lucas Jellema – CTO for AMIS | Conclusion

## Slide 3
Founded in 1991 by students from University of Twente – Aircraft Maintenance Information System (AMIS)
80 colleagues, located in Nieuwegein
the core of what we do: working with Data.
partnering with peers and companies in several countries
Lucas Jellema (2002)
Cloud Solution Architect & CTO
lucas.jellema@amis.nl | technology.amis.nl | @lucasjellema | lucas-jellema

## Slide 4
grid lock on Dutch electricity infrastructure
Notes: Gridlock on the Power Grid

## Slide 5
grid controller requires “instant curtailment of electricity production”

## Slide 6: Power Production Reduced

## Slide 7: Curtailment – how it should work
Grid Controller Agency
Energy Producer
Virtual Power Plants controller
OT/IT Bridge
An effect within 30 seconds
Reduce power by X %
Report actual power production (every 8 seconds)
Total power production setpoint
Total power production setpoint

## Slide 8: Real time measuring of current production is crucial
Grid Controller Agency
Energy Producer
Virtual Power Plants controller
OT/IT Bridge
An effect within 30 seconds
Reduce power by X %
Report actual power production (every 8 seconds)

## Slide 9: Real time measuring of current production is crucial: Clouds on the horizon
Grid Controller Agency
Energy Producer
Virtual Power Plants controller
OT/IT Bridge
An effect within 30 seconds
Reduce power by X %
Report actual power production (every 8 seconds)

## Slide 10: Bridging the Physical World with the Enterprise IT World
Enterprise IT Systems
IoT Platform
OT (operational technology)
& Real, Physical World
Third Parties

## Slide 11: What is IoT?
Internet of Things
Eyes, Ears, Smell and Feel for [enterprise] IT systems
Notes: geluid
trilling
beeld
pH
CO2 concentratie
vochtigheid
temperatuur
locatie
snelheid
versnelling
rpm
debiet
gewicht
kleur
maar niet: geur, smaak, sfeer,

## Slide 12: Eyes through IoT-systems

## Slide 13: Consumenten IoT

## Slide 14: What is IoT?
Internet of Things
Eyes, Ears, Smell and Feel for [enterprise] IT systems
A remote control – for manipulating the real world from within the enterprise IT
Notes: geluid
trilling
beeld
pH
CO2 concentratie
vochtigheid
temperatuur
locatie
snelheid
versnelling
rpm
debiet
gewicht
kleur
maar niet: geur, smaak, sfeer,

## Slide 15: How?
Measure
Communicate
Receive & Process
Interpret
Act
device management
monitoring
security
cost control
How often, how fast, how much, how accurate and reliable, how secure
Notes: actie:
curtailment
start bemaling
bedien klep

## Slide 16: How?
Measure
Communicate
Receive & Process
Interpret
Act
device management
monitoring
security
cost control
Decide on Action
Send signal (to“thing”)
Execute action
Receive/ Interpret
Notes: actie:
curtailment
start bemaling
bedien klep

## Slide 17: Heat as a Product

## Slide 18: Heat as a Product

## Slide 19: Heat as a Product
Supply (100°-120°)
Return
Heat Production
Auxilliary Heat Production
Local Distributor
Supply
Return
Consumer Homes
∆T
Supply (70°-90°)
Return (40°-60°)
Return (58°- 68°)

## Slide 20: A need to know basis
HEAT
When & How much Energy transfered?
Also:
Volume, Supply & Return Temperature
Health details meters, communication, grid
Invoicing
Capacity Planning
Customer App/Portal/API
Heat Grid Analysis
Data Science
Customer Service/Helpdesk
Device Monitoring & Operations

## Slide 21: In Summary the Function of Eneco IoT Platform
Devices (100Ks)
IoT Platform
Enterprise Systems &
Third Parties

## Slide 22: IoT Platform – To Insight and Action
Physical World
High Volume in
Semi Real-Time
Administrative Backend Systems
Customer Portals, Billing, Asset Management
Operate Smart Heat Networks
Provision Devices
Monitoring Devices & Resolving Issues
Publish cleansed, filtered data

## Slide 23: IoT Platform – To Insight and Action
Physical World
High Volume in
Semi Real-Time
Administrative Backend Systems
Customer Portals, Billing, Asset Management
Operate Smart Heat Networks
Provision Devices
Monitoring Devices & Resolving Issues
Publish cleansed, filtered data
Interact with devices
Connectivity
Security
Protocol
Data Management
Device Metadata
Telemetry (lots of it)
Support Field Engineer during provisioning
Receive messages: interpret, convert and route
Insight in devices and their current and revent behavior – status, anomalies, measurements
Administrative registration of meters (assets) and their link to a grid connection (location & customer)
Publish telemetry timeseries data
Secure
Cost effective
Performant (now) & Scalable (later)
Short time to market

## Slide 24: The moving pieces
HEAT
Smart Meter
Smart Meter
Communication Module
API
Event Streaming Platform
Telemetry
Ingest, Authenticate & Check
Validate, Enrich Process, Convert, Publish
Devices
Monitoring
Actuator

## Slide 25: Orders of magnitude
HEAT
Smart Meter
Smart Meter
Communication Module
API
Event Streaming Platform
Telemetry
Ingest, Authenticate & Check
Validate, Enrich Process, Convert, Publish
Devices
Monitoring
Actuator
150K devices
3.5M msg/day
70M measurements/day
70M records/day
12M events/day

## Slide 26: Smart Meters
Smart Meter
Smart Meter
Communication Module
API
Event Streaming Platform
Telemetry
Ingest, Authenticate & Check
Validate, Enrich Process, Convert, Publish
Devices
Monitoring
Actuator
Readings are digitally available through industry standard protocols – and wired or wireless.
Examples are Wired respectively Wireless M-Bus (for Heat Meters), and OpenTherm (thermostates)
Heat Meters measure actual Supply and Return Temperature (K), total Volume (m3) and Energy transferred (GJ), actual flow (m3). Heat Meters report health indicators. Meters retain history. Meters can publish error codes to indicate distress
Meters connect to pipes and use sensors to measure physical properties

## Slide 27: Communication Module and Communication Network
HEAT
Smart Meter
Smart Meter
Communication Module
API
Event Streaming Platform
Telemetry
Ingest, Authenticate & Check
Validate, Enrich Process, Convert, Publish
Devices
Monitoring
Actuator
Communication Module is edge device with firmware for on-device processing, SIM card that sends scheduled data reports over “Mobile” Communication channels (GPRS/3G/4G/LTE-M/LoRA) using protocols such as HTTP(S), MQTT and in data formats such as JSON, CSV, (XML,), custom, binary. CM can also receive instructions from device management systems.
Communication Module reads values from the meter registers – through industry standard protocols like M-Bus and OpenTherm. Communication Module can read actual and historic values (from Meter memory). CM connects to meters through wires or wireless
Communication Module can send instructions to local actuators, for example to set a valve to a specific position

## Slide 28: Ingest
HEAT
Smart Meter
Smart Meter
Communication Module
API
Event Streaming Platform
Telemetry
Ingest, Authenticate & Check
Validate, Enrich Process, Convert, Publish
Devices
Monitoring
Actuator
Only messages from known, provisioned, authenticated devices should be received and processed. The message should satisfy basic requirements (e.g. digital signature, valid JSON). Messages can arrive in high volumes. Initial processing is light weight, messages are quickly saved to queue for further, off-loaded processing

## Slide 29: Process, Persist and Publish
HEAT
Smart Meter
Smart Meter
Communication Module
API
Telemetry
Ingest, Authenticate & Check
Devices
Monitoring
Actuator
Event Streaming Platform
Validate, Enrich Process, Convert, Publish
All business relevant telemetry messages are published to an Event Platform in canonical enterprise format. This platform is the corporate data exchange, high volume, fully decoupled. Billing/invoicing, capacity planning, data science, customer app are all subscribed to the platform.
Telemetry data is stored in a Time Series database, allowing for very rapid (append only) recording of timestamped data, quick time-based aggregations and analysis and period-based data consolidation and data pruning,
Telemetry data can be retrieved through REST APIs – per device, per day (primarily for monthly bill)
Telemetry messages from various types of meters and communication modules are deduplicated, converted into standard units and canonical value labels. Administrative connection details are added to the published messages

## Slide 30: Monitor & Operate
HEAT
Smart Meter
Smart Meter
Communication Module
API
Event Streaming Platform
Telemetry
Ingest, Authenticate & Check
Validate, Enrich Process, Convert, Publish
Devices
Monitoring
Actuator
Provision
Provisioning is a time-consuming, hard-to-scale, manual process: hooking up a new Communication Module to the enterprise backend, connecting it to smart meters, configuring the measuring & reporting regime
The health of smart meters, communication modules and communication networks need to be monitored in real-time – and in case of deviations of expected & desired behavior, alerts should trigger correcting actions. Note: this monitoring is not about the business meaning of telemetry.

## Slide 31: So far the What. Next is: How?
HEAT
Smart Meter
Smart Meter
Communication Module
API
Event Streaming Platform
Telemetry
Ingest, Authenticate & Check
Validate, Enrich Process, Convert, Publish
Devices
Monitoring
Actuator

## Slide 32: Architecture Principles & Choices
On Azure
  Native PaaS much preferred over IaaS
  On top of 3rd party managed Cloud Infra Landing Zone (Network, VMs, Storage, Accounts)
Key theme: decoupled
  Logically (design time) – insulated against changes
  Physically (run time) – insulated regarding availability, throughput and physical resource usage compartimentalized
Run time Azure decoupling mechanisms of choice:
  Event Grid (operations), Queue (events), Database (data), Serverless, Service Plan (physical resource usage)
Automation
  Auto-provisioning of CM, Infrastructure as Code, Continuous Delivery, Regression & Smoke Tests, Dynamic Scalability (rule based scale up and scale out), Alerts & Notifications

## Slide 33: Ingest
Communication Module
Provision Devices & Communicate
http/csv (VPN)
mqtt/json (3G, open internet)
Device & Grid metadata
IoT Hub
Device Provisioning Service

## Slide 34: Ingest
Communication Module
Ingest, Authenticate & Check
http/csv (VPN)
mqtt/json (open internet)
Device & Grid metadata
IoT Hub
Device Provisioning Service
Function
Telemetry
Data Explorer

## Slide 35
Device & Grid metadata
IoT Hub
Database for PostgreSQL
API
Event Streaming Platform
APGIGEE
Telemetry
Device Provisioning Service
Event Grid
Function
Data Explorer
Snowflake
Publish & Expose

## Slide 36
Device & Grid metadata
IoT Hub
Database for PostgreSQL
API
Event Streaming Platform
APGIGEE
Telemetry
Event Hub
Device Provisioning Service
Event Grid
Function
Data Explorer
Snowflake
Stream Analytics
Analyze, Monitor, Anomaly Detection, Alert

## Slide 37: IoT Use Cases – keep popping up
For Eneco the ability to connect Enterprise IT to the Operational domain (production & distribution) as well as to Customer sites is very valuable

## Slide 38: Learn about failing connections in the home

## Slide 39: Learn about failing connections in the home

## Slide 41
Accumulator
Thermal
District heating
Homes
Offices
Distribution Grid
Consumers
Generation
Customer Service
Field agent Maintenance
1x per year

## Slide 42
Accumulator
Thermal
District heating
Homes
Offices
Distribution Grid
Consumers
Generation
Customer Service
Field agent Maintenance

## Slide 43
Accumulator
Thermal
District heating
Homes
Offices
Distribution Grid
Consumers
Generation
Customer Service
Field agent Maintenance
every 15 mins.
Charging stations
Central heating
Home appliances
Solar panels
Smart thermostat

## Slide 44
Accumulator
Thermal
District heating
Homes
Offices
Distribution Grid
Consumers
Generation
Customer Service
Field agent Maintenance
every 15 mins.
Charging stations
Central heating
Home appliances
Solar panels
Smart thermostat

## Slide 45
Accumulator
Thermal
District heating
Homes
Distribution Grid
Consumers
Generation
Customer Service
Field agent Maintenance
Offices

## Slide 46
Accumulator
Thermal
District heating
Homes
Distribution Grid
Consumers
Generation
Customer Service
Field agent Maintenance
Offices
Data Scientist
Building characteristics
Consumption predictions
Predictive maintenance

## Slide 47
Accumulator
Thermal
District heating
Homes
Distribution Grid
Consumers
Generation
Field agent Maintenance
Real-time
Network
temperature
Sensor
data
Pressure
Status & Errors
Status reporting
Periodic maintenance
Monitoring
Network operation center

## Slide 48
Accumulator
Thermal
District heating
Homes
Distribution Grid
Consumers
Generation
Network operation center
Field agent Maintenance
Customer Service
Data Scientist
End network monitoring
Preventive maintenance
Legionella prevention
Load shifting
Infinite possibilities

## Slide 49
Accumulator
Thermal
District heating
Homes
Distribution Grid
Consumers
Generation
Field agent Maintenance
Wind
Solar
Network operation center
Periodic maintenance
Asset Monitoring
Production
Steering

## Slide 50
Accumulator
Thermal
District heating
Homes
Distribution Grid
Consumers & prosumers
Generation
Network operation center
Field agent Maintenance
Customer Service
Data Scientist
Network balancing
Dispersed energy production
Production steering
Wind
Solar

## Slide 51
Accumulator
Thermal
District heating
Homes
Distribution Grid
Consumers & prosumers
Generation
Network operation center Distribution
Field agent Maintenance Distribution
Customer Service
Data Scientist
Network balancing
Dispersed energy production
Production steering
Wind
Solar
Network operation center Generation
Field agent Maintenance Housing
Field agent Maintenance Generation
End-to-End network monitoring
Preventive
maintenance
Legionella prevention
Load shifting
Infinite possibilities
Building characteristics
Consumption
predictions
Predictive maintenance
District heating
Electric vehicles
Homes
Offices
Charging stations
Central heating
Home appliances
Solar panels
Smart thermostat
Virtual Power Plant
IoT

## Slide 52
Accumulator
Thermal
District heating
Homes
Distribution Grid
Consumers & prosumers
Generation
Wind
Solar
Electric vehicles
Offices

## Slide 53
Trend prediction
Detection of patterns
Detection of trends
Virtual sensors
Digital Twin

## Slide 54: Broader IoT Platform objectives/ Next Steps
Single point of entry for all operational data
  Solar Farms
  Windmills
  Central Heating (gas powered)
  EV charging
  Local production / trade/ consumption
Active, Real-Time Operations (two-way data stream)
  Act
  Pro-act

## Slide 55: Conclusion
IoT is [a special case of] data integration
  Communicate, collect, process, persist, publish
  Fast, High Volume, Real Time
  Many parties to interact with
IoT brings physical world of real things close to enterprise IT
Automation is a lot of work – and is worth it
  Speed, repeatability, ability for agility, fewer errors, reduced effort, less reliance on key resources
Anything local (edge side), physical or manual is expensive and hard to scale
Azure is a pretty nice environment to work and run in
  especially the ability to rapidly ramp up, explore, scale and let go off – and not have to manage infrastructure details
  Once you have an IoT Platform – the number of use cases may grow rapidly

## Slide 56: The End
lucas.jellema@amis.nl | technology.amis.nl | @lucasjellema | lucas-jellema